## Slide 1: Heat demand, potentials and costs of heat saving measures within Danish building stock
Stefan Petrovic, PhD Student, Energy Systems Analysis group, DTU Management Engineering
Kenneth Karlsson, Senior Scientist, Head of Energy Systems Analysis group, DTU Management Engineering

## Slide 2
DTU Heat Atlas
BBR
Physical characteristics of average buildings
Heating model
Population data
Specific heat demand for space heating and DHW (kWh/m2)
BBR measured supply data
Grouping by type and fuel and calibrating with DES
Heat demand calibrated with DES
Renovation levels
Marginal/full costs
Lifetimes and interest rates
Potentials (TWh) and annuitized costs (DKK/kWh) for each measure and level
User inputs - indoor temperature, air exchange rates, etc.
Grouping of buildings by use, costr. period, region, Cen/Dec/Ind, type of supply
Choosing the cheapest level (DKK/kWh) for each measure
Grouping measures by Den/Dec/Ind, region, constr. per and type and ordering from least to most expensive (DKK/kWh)
Aggregated heat saving curves
3 - step approximation – potentials, costs, lifetimes
TIMES DK
Potentials (TWh) available at cut-off price
Heat model

## Slide 3
DTU Heat Atlas
BBR
Physical characteristics of average buildings
Heating model
Population data
Specific heat demand for space heating and DHW (kWh/m2)
BBR measured supply data
Grouping by type and fuel and calibrating with DES
Heat demand calibrated with DES
Renovation levels
Marginal/full costs
Lifetimes and interest rates
Potentials (TWh) and annuitized costs (DKK/kWh) for each measure and level
User inputs - indoor temperature, air exchange rates, etc.
Grouping of buildings by use, costr. period, region, Cen/Dec/Ind, type of supply
Choosing the cheapest level (DKK/kWh) for each measure
Grouping measures by Den/Dec/Ind, region, constr. per and type and ordering from least to most expensive (DKK/kWh)
Aggregated heat saving curves
3 - step approximation – potentials, costs, lifetimes
TIMES DK
Potentials (TWh) available at cut-off price
Part 1

## Slide 4
DTU Heat Atlas
BBR
BBR measured supply data
Grouping of buildings by use, costr. period, region, Cen/Dec/Ind, type of supply
Part 1 – DTU Heat Atlas

## Slide 5
DTU Heat Atlas
BBR
Physical characteristics of average buildings
Heating model
Population data
Specific heat demand for space heating and DHW (kWh/m2)
BBR measured supply data
Grouping by type and fuel and calibrating with DES
Heat demand calibrated with DES
Renovation levels
Marginal/full costs
Lifetimes and interest rates
Potentials (TWh) and annuitized costs (DKK/kWh) for each measure and level
User inputs - indoor temperature, air exchange rates, etc.
Grouping of buildings by use, costr. period, region, Cen/Dec/Ind, type of supply
Choosing the cheapest level (DKK/kWh) for each measure
Grouping measures by Den/Dec/Ind, region, constr. per and type and ordering from least to most expensive (DKK/kWh)
Aggregated heat saving curves
3 - step approximation – potentials, costs, lifetimes
TIMES DK
Potentials (TWh) available at cut-off price
Part 2

## Slide 6
Physical characteristics of average buildings
Heating model
Population data
Specific heat demand for space heating and DHW (kWh/m2)
Grouping by type and fuel and calibrating with DES
User inputs - indoor temperature, air exchange rates, etc.
Part 2 – Heat demand calculation and calibration

## Slide 7
User inputs
DHW efficiency (%)
DHW consumption per age group
Recovery of DHW losses (%)
Shadow reduction factors
Share of buildings with heat recovery
Indoor temperature
Thermal capacity of buildings
Internal heat gains
Room height
Air exchange rate by ventilation
Air exchange rate by infiltration

## Slide 8
DTU Heat Atlas
BBR
Physical characteristics of average buildings
Heating model
Population data
Specific heat demand for space heating and DHW (kWh/m2)
BBR measured supply data
Grouping by type and fuel and calibrating with DES
Heat demand calibrated with DES
Renovation levels
Marginal/full costs
Lifetimes and interest rates
Potentials (TWh) and annuitized costs (DKK/kWh) for each measure and level
User inputs - indoor temperature, air exchange rates, etc.
Grouping of buildings by use, costr. period, region, Cen/Dec/Ind, type of supply
Choosing the cheapest level (DKK/kWh) for each measure
Grouping measures by Den/Dec/Ind, region, constr. per and type and ordering from least to most expensive (DKK/kWh)
Aggregated heat saving curves
3 - step approximation – potentials, costs, lifetimes
TIMES DK
Potentials (TWh) available at cut-off price
Part 3

## Slide 9
Heat demand calibrated with DES
Renovation levels
Marginal/full costs
Lifetimes and interest rates
Potentials (TWh) and annuitized costs (DKK/kWh) for each measure and level
Choosing the cheapest level (DKK/kWh) for each measure
Part 3 – Calculation of potentials and costs of heat saving measures

## Slide 10
DTU Heat Atlas
BBR
Physical characteristics of average buildings
Heating model
Population data
Specific heat demand for space heating and DHW (kWh/m2)
BBR measured supply data
Grouping by type and fuel and calibrating with DES
Heat demand calibrated with DES
Renovation levels
Marginal/full costs
Lifetimes and interest rates
Potentials (TWh) and annuitized costs (DKK/kWh) for each measure and level
User inputs - indoor temperature, air exchange rates, etc.
Grouping of buildings by use, costr. period, region, Cen/Dec/Ind, type of supply
Choosing the cheapest level (DKK/kWh) for each measure
Grouping measures by Den/Dec/Ind, region, constr. per and type and ordering from least to most expensive (DKK/kWh)
Aggregated heat saving curves
3 - step approximation – potentials, costs, lifetimes
TIMES DK
Potentials (TWh) available at cut-off price
Part 4

## Slide 11
Grouping measures by Den/Dec/Ind, region, constr. per and type and ordering from least to most expensive (DKK/kWh)
Aggregated heat saving curves
3 - step approximation – potentials, costs, lifetimes
TIMES DK
Potentials (TWh) available at cut-off price
Part 4 – Aggregation, approximation and input to TIMES DK

## Slide 12
For questions and comments, contact:
Stefan Petrovic, stpet@dtu.dk
Kenneth Karlsson, keka@dtu.dk
Areas for future work
Utilise population and construction/demolition projections and use heating model as stand-alone tool
Visualize results in GIS
Thank you for your attention