## LOG
Date | Name | Sheet Name | Cells | Comments
2018-02-22 | Mikkel Bosack Simonsen | ELC_TechC | G7 | Deleted values for solar PV, HP and onshore windpower from original RAMSES data
2018-02-20 | Mikkel Bosack Simonsen | ELC_TechC | #REF! | Corrected lifetime of plants, assumed it is a life extension
2018-02-20 | Mikkel Bosack Simonsen | ELC_TechC | #REF! | Assumption made on esbjergsværket being converted to wood chips
2018-01-30 | Olexandr Balyk | ELC_ProcC | #REF! | Changed to correspond to the changes below
2018-01-30 | Olexandr Balyk | ELC_TechC | #REF! | Moved the installed capacities to SubRES
2018-01-30 | Olexandr Balyk | ELC_TechC | #REF! | Removed the east/west split; used "P" for planned instead of "N" for new
2018-01-30 | Olexandr Balyk | ELC_TechC | #REF! | Changed the rule to 5 (from 1) after removing the 2050 input (was the same as for 2025)
2018-01-30 | Olexandr Balyk | ELC_TechC | N15,N16,N17,N18,N19,N20,N21,N22,N23,N24 | Changed the rule to 5 (from 1) after removing the 2050 input (was the same as for 2025)
2018-01-26 | Mikkel Bosack Simonsen |  |  | Removed Solar PV and wind onshore as these are not planned technologies, but expected future developments
2016-06-17 | Maurizio Gargiulo | ELC_TechC,ELC_ProcC |  | Removed BGA technology because of a very very small capacity
2016-06-17 | Rikke Næraa | Adjusted O&M waste and WIN | M13 | WIN - the FIX share of the OM can be set here , if the values is changed the values in all the tec sheet will be updated (IN RAMSES OM win is expected to be 100% variable, we change that here)
2016-05-09 | Lars B. Termansen | Intro |  | Added description of O&M sheet
2016-04-21 | Rikke Næraa | ELC_TechC | Y8 | The AFA factors is removed from the tabel the production is limited in each timeslice by the BY trans files to make it possible to reflect the increasing capacity factor
2016-04-18 | Rikke Næraa | O&M waste and WIN | A1 | Sheet added figures for OM for wind and waste
2016-04-18 | Rikke Næraa | ELC_TechC | R15 | Figures for FIXOM and VAR OM changed for ELCWST and ELCWIN* the figures for WST was negative ( has been changed according to data from EA report and the total OM for WIN was set as VAR - according to the tech cat app 75% is Fixed and 25% var - data has been changed according to that
2016-04-18 | Lars B. Termansen | Intro |  | Added intro sheet
2016-04-18 | Lars B. Termansen | ELC_TechC |  | Add region name to technology names - remove region column
2016-04-18 | Lars B. Termansen | ELC_ProcC |  | Add region name to technology names - remove region column
2016-03-18 | Rikke Næraa | ELC_TechC | #REF! | the value seems very high -
2016-03-18 | Rikke Næraa | ELC_TechC | N30

## Intro
Description
Purpose: | New plants commissioned in 2018-2022
Description: | The data is based on the database from the DEA's RAMSES model
Relevant sectors | ELC
Description of different sheets
ELC_ProcC | Defines the processes commissioned 2018-2022
ELC_TechC | Topology for processes and commodities commissioned 2018-2022
Fuel | Fuel list and correspondance between RAMSES and TIMES
O&M waste and WIN | O&M for waste plants - in the ramses file a lot of the Var was set to a negative value and the Fixed to zero - in the celle where this is the case the numbers below is inserted

## ELC_TechC
Technologies | Technologies commissioned in 2018-2022.
~FI_T
TechName | *TechDesc | Region | Comm-IN | Comm-OUT | CURR | EFF | CHPR~UP | CHPR | CEH | Share-I~FX~ELCC | Share-I~UP~2010 | Share-I~UP~2012 | Share-I~UP~2015 | Share-I~UP~2020 | Share-I~UP~2025 | Share-I~UP~2050 | Share-I~UP~0 | *STOCK HET | NCAP_BND~2020~FX | LIFE | FIXOM | VAROM | CAP2ACT | AFA | Peak | NCAP_BND~FX~0
*PlantName |  | Power Region Name |  |  | Currency unit |  |  |  |  | Fixed ELCC Input Share | [7 empty] | Installed Heat Capacity | Installed Capacity
*Unit | [17 empty] | MW | MW | Years | Mkr/MW | Mkr/PJ | Factor | Factor | Factor
ECWCHBPC3N | CHP: Back pressure plant (centralised) - Wood Chips - New 2020 | DKE | ELCWCH | ELCC | MKr12 | 0.27413 |  | 2.9983 | [10 empty] | 175.1 | 20 | 0.46586 | 5.555 | 0.031536 | 0.93 | 1 | 2
|  | DKE |  | HETC | MKr12 | [12 empty] | 525
ECWSTBPC3N | CHP: Back pressure plant (centralised) - Waste - New 2020 | DKE | ELCWST | ELCC | MKr12 | 0.16141 |  | 4.2194 | [10 empty] | 17.301 | 20 | 0 | -26.2251 | 0.031536 | 0.93 | 1 | 2
|  | DKE |  | HETC | MKr12 | [12 empty] | 73
ECWCHBPD3N | CHP: Back pressure plant (decentralised) - Wood Chips - New 2020 | DKE | ELCWCH | ELCC | MKr12 | 0.22714 |  | 3.3962 | [10 empty] | 15.9 | 20 | 0.23732 | 8.8655 | 0.031536 | 0.93 | 1 | 2
|  | DKE |  | HETD | MKr12 | [12 empty] | 54
ECWSTBPD3N | CHP: Back pressure plant (decentralised) - Waste - New 2020 | DKE | ELCWST | ELCC | MKr12 | 0.1157 |  | 5.7988 | [10 empty] | 4.1043 | 20 | 0 | -26.2251 | 0.031536 | 0.93 | 1 | 2
|  | DKE |  | HETD | MKr12 | [12 empty] | 23.8
ECWOSBPD3N | CHP: Back pressure plant (decentralised) - WoodStraw - New 2020 | DKE | ELCWPE | ELCC | MKr12 | 0.22203 |  | 2.8401 | [5 empty] | 0.11 | 0.11 | 0.11 | 1 |  | 7.9222 | 20 | 0.32734 | 14.5485 | 0.031536 | 0.93 | 1 | 2
|  | DKE | ELCWCH | HETD | MKr12 | [8 empty] | 0.51 | 0.51 | 0.51 | 1 | 22.5
|  | DKE | ELCSTR |  | MKr12 | [8 empty] | 0.41 | 0.41 | 0.41 | 1
ECGASGTD3N | CHP: Gas turbine (decentralised) - Gas - New 2020 | DKE | ELCGAS | ELCC | MKr12 | 0.3 |  | 0.12276 | [6 empty] | 1 | 1 | 1 |  | 39.1 | 20 | 0.090019 | 3.8644 | 0.031536 | 0.97 | 1 | 2
|  | DKE |  | HETD | MKr12 | [12 empty] | 4.8
ECBGAEND3N | CHP: Engine internal combustion (decentralised) - Biogas - New 2020 | DKE | ELCBGA | ELCC | MKr12 | 0.35 |  | 1.1429 | [10 empty] | 3.4478 | 20 | 0.081835 | 11.4528 | 0.031536 | 0.97 | 1 | 2
|  | DKE |  | HETD | MKr12 | [12 empty] | 3.9404
EHWOSBOD3N | Heat only: Boiler plant (decentralised) - WoodStraw - New 2020 | DKE | ELCWPE | HETD | MKr12 | 1 | [7 empty] | 0.11 | 0.11 | 0.11 | 1 | 12.5866 | 12.5866 | 20 | 0 | 6.1376 | 0.031536 | 0.97 | 1 | 2
|  | DKE | ELCWCH |  | MKr12 | [8 empty] | 0.51 | 0.51 | 0.51 | 1
|  | DKE | ELCSTR |  | MKr12 | [8 empty] | 0.41 | 0.41 | 0.41 | 1
EHELCEHC3N | Heat only: Electrical heater (centralised) - Electricity - New 2020 | DKE | ELCC | HETC | MKr12 | 1 | [11 empty] | 80 | 80 | 20 | 0.0090019 | 1.1366 | 0.031536 | 0.99 | 1 | 2
EHWCHGEH3N | Heat only: Geothermal heat - Wood Chips - New 2020 | DKE | ELCWCH | HETC | MKr12 | 2.0769 | [11 empty] | 27 | 27 | 20 | 0.40099 | 0 | 0.031536 | 0.93 | 1 | 2
ECWSTBPC3N | CHP: Back pressure plant (centralised) - Waste - New 2020 | DKW | ELCWST | ELCC | MKr12 | 0.16576 |  | 3.9178 | [10 empty] | 7.4021 | 20 | 0 | -26.2251 | 0.031536 | 0.93 | 1 | 2
|  | DKW |  | HETC | MKr12 | [12 empty] | 29
ECWOWBPC3N | CHP: Back pressure plant (centralised) - WoodWaste - New 2020 | DKW | ELCWPE | ELCC | MKr12 | 0.17449 |  | 4.4386 | [5 empty] | 0.033 | 0.033 | 0.033 | 1 |  | 6.5336 | 20 | 0 | -26.2251 | 0.031536 | 0.93 | 1 | 2
|  | DKW | ELCWCH | HETC | MKr12 | [8 empty] | 0.0143 | 0.0143 | 0.0143 | 1 | 29
|  | DKW | ELCWST |  | MKr12 | [8 empty] | 0.968 | 0.968 | 0.968 | 1
ECWCHBPD3N | CHP: Back pressure plant (decentralised) - Wood Chips - New 2020 | DKW | ELCWCH | ELCC | MKr12 | 0.145 |  | 6.6483 | [10 empty] | 4.5124 | 20 | 0.22869 | 8.5431 | 0.031536 | 0.93 | 1 | 2
|  | DKW |  | HETD | MKr12 | [12 empty] | 30
ECWSTBPD3N | CHP: Back pressure plant (decentralised) - Waste - New 2020 | DKW | ELCWST | ELCC | MKr12 | 0.13003 |  | 5.8336 | [10 empty] | 1.5771 | 20 | 0 | -26.2251 | 0.031536 | 0.93 | 1 | 2
|  | DKW |  | HETD | MKr12 | [12 empty] | 9.2
ECWOWBPD3N | CHP: Back pressure plant (decentralised) - WoodWaste - New 2020 | DKW | ELCWPE | ELCC | MKr12 | 0.12275 |  | 5.9861 | [5 empty] | 0.033 | 0.033 | 0.033 | 1 |  | 5.0116 | 20 | 0.12275 | -10.2711 | 0.031536 | 0.93 | 1 | 2
|  | DKW | ELCWCH | HETD | MKr12 | [8 empty] | 0.0143 | 0.0143 | 0.0143 | 1 | 30
|  | DKW | ELCWST |  | MKr12 | [8 empty] | 0.968 | 0.968 | 0.968 | 1
ECFL1BPD3N | CHP: Back pressure plant (decentralised) - Flex1 - New 2020 | DKW | ELCWST | ELCC | MKr12 | 0.194 |  | 3.4247 | [5 empty] | 0.67 | 0.67 | 0.67 | 1 |  | 24.528 | 20 | 0 | -26.2251 | 0.031536 | 0.93 | 1 | 2
|  | DKW | ELCSTR | HETD | MKr12 | [8 empty] | 0.16 | 0.16 | 0.16 | 1 | 84
|  | DKW | ELCWCH |  | MKr12 | [8 empty] | 0.09 | 0.09 | 0.09 | 1
|  | DKW | ELCGAS |  | MKr12 | [8 empty] | 0.05 | 0.05 | 0.05 | 1
|  | DKW | ELCBGA |  | MKr12 | [8 empty] | 0.05 | 0.05 | 0.05 | 1
ECGASGTD3N | CHP: Gas turbine (decentralised) - Gas - New 2020 | DKW | ELCGAS | ELCC | MKr12 | 0.41419 |  | 1.1456 | [6 empty] | 1 | 1 | 1 |  | 48.8846 | 20 | 0.24551 | 5.683 | 0.031536 | 0.95 | 1 | 2
|  | DKW |  | HETD | MKr12 | [12 empty] | 56
ECBGAEND3N | CHP: Engine internal combustion (decentralised) - Biogas - New 2020 | DKW | ELCBGA | ELCC | MKr12 | 0.35 |  | 1.1429 | [10 empty] | 13.7912 | 20 | 0.081835 | 11.4528 | 0.031536 | 0.97 | 1 | 2
|  | DKW |  | HETD | MKr12 | [12 empty] | 15.7614
EHWCHBOD3N | Heat only: Boiler plant (decentralised) - Wood Chips - New 2020 | DKW | ELCWCH | HETD | MKr12 | 1.2667 | [11 empty] | 38 | 38 | 20 | 0 | 6.1376 | 0.031536 | 0.97 | 1 | 2
EHWOSBOD3N | Heat only: Boiler plant (decentralised) - WoodStraw - New 2020 | DKW | ELCWPE | HETD | MKr12 | 1 | [7 empty] | 0.11 | 0.11 | 0.11 | 1 | 47.4134 | 47.4134 | 20 | 0 | 6.1376 | 0.031536 | 0.97 | 1 | 2
|  | DKW | ELCWCH |  | MKr12 | [8 empty] | 0.51 | 0.51 | 0.51 | 1
|  | DKW | ELCSTR |  | MKr12 | [8 empty] | 0.41 | 0.41 | 0.41 | 1
~FI_T
TechName | *TechDesc | Comm-IN | Comm-OUT | CURR | EFF | CEFF | CHPR~UP | CHPR | CEH | Share-I~UP~2020 | Share-I~UP~2025 | Share-I~UP~0 | NCAP_BND~2020~FX | LIFE | FIXOM | VAROM | CAP2ACT | AFA | Peak | NCAP_BND~FX~0 |  | AFA for Wind and Sol
*PlantName | [12 empty] | Installed Capacity DKW | [8 empty] | maximum yearly
*Unit | [12 empty] | MW | Years | Mkr/MW | Mkr/PJ | Factor | Factor | Factor |  |  | DKE | DKW
ERWINWOF3P | Renewables, power only: Wind turbine (Near Shore) - Wind - New 2020 | ELCWIN | ELCC | Mkr12 | 1 | [8 empty] | 25 | 0.50496 | 3.7239 | 0.031536 |  | 0.3 | 2 |  | 0.47776 | 0.51206
ERWINWOF5P | Renewables, power only: Wind turbine (offshore) - Wind - New 2020 | ELCWIN | ELCC | Mkr12 | 1 | [8 empty] | 25 | 0.50496 | 3.7239 | 0.031536 |  | 0.3 | 2 |  | 0.47776 | 0.51206
EHSOLSOL3P | Heat only: Solar heating (only decentralised) - Solar - New 2020 | ELCSOL | HETD | Mkr12 | 1 | [8 empty] | 20 |  | 1.2486 | 0.031536 |  | 0.1 | 2 |  | 0.085616 | 0.085616

## ELC_ProcC
Processes
~FI_Process
Sets | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Vintage
*Process Set Membership | Technology Name | Technology Description | Activity Unit | Capacity Unit | TimeSlice level of Process Activity | Primary Commodity Group | Vintage Tracking
CHP | ECWCHBPC3N | CHP: Back pressure plant (centralised) - Wood Chips - New 2020 | PJ | MW
CHP | ECWSTBPC3N | CHP: Back pressure plant (centralised) - Waste - New 2020 | PJ | MW
CHP | ECWCHBPD3N | CHP: Back pressure plant (decentralised) - Wood Chips - New 2020 | PJ | MW
CHP | ECWSTBPD3N | CHP: Back pressure plant (decentralised) - Waste - New 2020 | PJ | MW
CHP | ECWOSBPD3N | CHP: Back pressure plant (decentralised) - WoodStraw - New 2020 | PJ | MW
CHP | ECGASGTD3N | CHP: Gas turbine (decentralised) - Gas - New 2020 | PJ | MW
CHP | ECBGAEND3N | CHP: Engine internal combustion (decentralised) - Biogas - New 2020 | PJ | MW
HPL | EHWOSBOD3N | Heat only: Boiler plant (decentralised) - WoodStraw - New 2020 | PJ | MW | DAYNITE
HPL | EHELCEHC3N | Heat only: Electrical heater (centralised) - Electricity - New 2020 | PJ | MW | DAYNITE
HPL | EHWCHGEH3N | Heat only: Geothermal heat - Wood Chips - New 2020 | PJ | MW | DAYNITE
CHP | ECWSTBPC3N | CHP: Back pressure plant (centralised) - Waste - New 2020 | PJ | MW
CHP | ECWOWBPC3N | CHP: Back pressure plant (centralised) - WoodWaste - New 2020 | PJ | MW
CHP | ECWCHBPD3N | CHP: Back pressure plant (decentralised) - Wood Chips - New 2020 | PJ | MW
CHP | ECWSTBPD3N | CHP: Back pressure plant (decentralised) - Waste - New 2020 | PJ | MW
CHP | ECWOWBPD3N | CHP: Back pressure plant (decentralised) - WoodWaste - New 2020 | PJ | MW
CHP | ECFL1BPD3N | CHP: Back pressure plant (decentralised) - Flex1 - New 2020 | PJ | MW
CHP | ECGASGTD3N | CHP: Gas turbine (decentralised) - Gas - New 2020 | PJ | MW
CHP | ECBGAEND3N | CHP: Engine internal combustion (decentralised) - Biogas - New 2020 | PJ | MW
HPL | EHWCHBOD3N | Heat only: Boiler plant (decentralised) - Wood Chips - New 2020 | PJ | MW | DAYNITE
HPL | EHWOSBOD3N | Heat only: Boiler plant (decentralised) - WoodStraw - New 2020 | PJ | MW | DAYNITE
ELE | ERWINWOF3P | Renewables, power only: Wind turbine (Near Shore) - Wind - New 2020 | PJ | MW
ELE | ERWINWOF5P | Renewables, power only: Wind turbine (offshore) - Wind - New 2020 | PJ | MW
HPL | EHSOLSOL3P | Heat only: Solar heating (only decentralised) - Solar - New 2020 | PJ | MW | DAYNITE

## Fuel
| Translate from RAMSES fuel mix to Times-DK fuels |  |  |  | Find CO2 and Sulphur for TIMES-DK fuels
RAMSES codes | TIMES-DK codes | RAMSES codes | TIMES-DK codes |  | Times-DK fuels | [12 empty] | Times-DK fuels |  |  |  | Times-DK fuels |  | RAMSES fuel codes
[9 empty] | RAMSES fuels | [5 empty] | RAMSES fuels |  |  |  | RAMSES fuels
[5 empty] | Times-DK fuel | [18 empty] | Sheet FuelProperty in RAMSES data file.
Sheet Comm:
LimType
[8 empty] | Sense of the | RAMSES fuel # 1 |  | RAMSES fuel # 2 |  | RAMSES fuel # 3 |  | CO2 | kg/GJ |  |  | Sulphur | kg/GJ
Fuel mix | Times-DK fuels | PlantType | Times-DK fuels |  |  |  | EFF | Balance EQN | Name | % | Name | % | Name | % | # 1 | # 2 | # 3 | Total | # 1 | # 2 | # 3 | Total |  |  |  | CO2 | Sulphur | Ash | REshare
[24 empty] | Coal | kg/GJ | 94.6 | 0.272 | 4 | 0
Kul | COA | EH |  | Basic fuels | COA | Coal | 1 |  | Coal | 100% |  |  |  |  | 94.6 | 0 | 0 | 94.6 | 0.272 | 0 | 0 | 0.272 |  | Lignite | kg/GJ | 111.1 | 0.26667 | 6.6667 | 0
Olie | HFO | EP |  |  | HFO | Heavy Fuel Oil | 1 |  | Fueloil | 100% |  |  |  |  | 79.28 | 0 | 0 | 79.28 | 0.25 | 0 | 0 | 0.25 |  | Fueloil | kg/GJ | 79.28 | 0.25 | 0.025 | 0
Gasolie | ADS | HS |  |  | DSL | Diesel | 1 |  | Gasoil | 100% |  |  |  |  | 74 | 0 | 0 | 74 | 0.069767 | 0 | 0 | 0.069767 |  | Gasoil | kg/GJ | 74 | 0.069767 | 0 | 0
Naturgas | GAS | HY | HYD |  | NGA | Nat. Gas | 1 |  | NatGas | 100% |  |  |  |  | 56.95 | 0 | 0 | 56.95 | 0 | 0 | 0 | 0 |  | NatGas | kg/GJ | 56.95 | 0 | 0 | 0
Biogas | BGA | IM |  |  | BGA | Biogas | 1 |  | Biogas | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Peat | kg/GJ | 106 | 0.24 | 4 | 0
Bioolie | ADS | PV | SOL |  | WPE | Wood Pellets | 1 |  | WoodPellets | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Straw | kg/GJ | 0 | 0.2 | 2.6667 | 1
Halm | STR | SH | SOL |  | WCH | Wood Chips | 1 |  | WoodChips | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | WoodPellets | kg/GJ | 0 | 0 | 0.5 | 1
Træ | WPE | WL | WIN |  | STR | Straw | 1 |  | Straw | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0.2 | 0 | 0 | 0.2 |  | WoodChips | kg/GJ | 0 | 0 | 0.5 | 1
Flis | WCH | WS | WIN |  | WST | Waste | 1 | FX | Waste | 100% |  |  |  |  | 37 | 0 | 0 | 37 | 0.075 | 0 | 0 | 0.075 |  | WoodWaste | kg/GJ | 0 | 0 | 0.5 | 1
Affald | WST |  |  |  | WIN | Wind | 1 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Waste | kg/GJ | 37 | 0.075 | 11.1111 | 0.55
[5 empty] | SOL | Solar | 1 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Biogas | kg/GJ | 0 | 0 | 0 | 1
Studstrupværket_SSV3 | COW |  |  |  | GEO | Geothermal | 1 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | BioOil | kg/GJ | 0 | 0 | 0 | 1
Studstrupværket_SSV4 | COS |  |  |  | HYD | Hydro | 1 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | SNG | kg/GJ | 0 | 0 | 0 | 1
|  |  |  | Fuel types | DSB | BioDiesel | [17 empty] | Uranium | kg/GJ | 0 | 0 | 0 | 0
Aars_KV | WST |  |  |  | SNG | Synt.Nat.Gas
Grenå_KV | COS |  |  |  | GAS | Gas
Herningværket_KV | WOG |  |  | Mixed fuels | GWA | GasWaste
Horsens_KV | GWA |  |  |  | WAS | WasteStraw
Køge_KV_Blok7 | WCH |  |  |  | COS | CoalStraw
MasnedøKV | WOS |  |  |  | COW | CoalWood
Måbjergværket_KV | FL1 |  |  |  | WOG | WoodGas
Svendborg_KV | WOW |  |  |  | WOO | Wood
Sønderborg_KV | WST |  |  |  | WOW | WoodWaste
Østkraft_Diesel | ADS |  |  |  | WOS | WoodStraw
[5 empty] | FL1 | Flex1
NaturgasCKV | GAS |  |  |  | FL2 | Flex2
NaturgasDKV | GAS |  |  |  | ADS | DSL & DSB
[5 empty] | ANG | NGA & SNG
Næstved-Forbrænding_KV | GWA
Slagelse-Forbrænding_KV | WAS
Thisted-Forbrænding_KV | WOW |  | Conditional | Definition |  |  | EFF | TIMES-DK fuel
|  |  | formatting |  |  |  |  | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 7 | # 8 | # 9 | # 10
ARC_KV | WST |  | WOG | Fuel types | DSB | BioDiesel | 1 | TIMES-DK fuel # 1: DSB1; TIMES-DK fuel # 2: DSB2 | For use in sheet 'Fuel Tech'.
AVV-Forbrænding | WST |  |  |  | SNG | Synt.Nat.Gas | 1 | TIMES-DK fuel # 1: SNG1; TIMES-DK fuel # 2: SNG2
Grenå-Forbrænding | WST |  |  |  | GAS | Gas | 1 | TIMES-DK fuel # 1: NGA; TIMES-DK fuel # 2: SNG1; TIMES-DK fuel # 3: SNG2
KARA-Forbrænding_Anlæg6 | WST |  |  | Fuel types | DSB | BioDiesel | 1 | TIMES-DK fuel # 1: DSB | ???
KARA-Forbrænding_Kedel | WST |  |  |  | SNG | Synt.Nat.Gas | 1 | TIMES-DK fuel # 1: SNG | ???
RenoSyd | WST |  |  |  | GAS | Gas | 1 | TIMES-DK fuel # 1: NGA; TIMES-DK fuel # 2: SNG
TAS-Forbrænding | WOW |  |  | Mixed fuels | GWA | GasWaste | 1 | TIMES-DK fuel # 1: GAS; TIMES-DK fuel # 2: WST
[5 empty] | WAS | WasteStraw | 1 | TIMES-DK fuel # 1: WST; TIMES-DK fuel # 2: STR
Biomasse_KV_BIO_DK-West | WOS |  |  |  | COS | CoalStraw | 1 | TIMES-DK fuel # 1: COA; TIMES-DK fuel # 2: STR
Forbrændingsmotor_BiogasNaturgas_ØVR_DK-East | ANG |  |  |  | COW | CoalWood | 1 | TIMES-DK fuel # 1: COA; TIMES-DK fuel # 2: WPE; TIMES-DK fuel # 3: WCH
[5 empty] | WOG | WoodGas | 1 | TIMES-DK fuel # 1: WPE; TIMES-DK fuel # 2: WCH; TIMES-DK fuel # 3: GAS; TIMES-DK fuel # 4: BGA
Kedel_Affald_NG_DK-West | WST |  |  |  | WOO | Wood | 1 | TIMES-DK fuel # 1: WPE; TIMES-DK fuel # 2: WCH | "Fuel type" used in definition of "Mixed fuel". Correct?
Kedel_Affald_ØVR_DK-West | WST |  |  |  | WOW | WoodWaste | 1 | TIMES-DK fuel # 1: WPE; TIMES-DK fuel # 2: WCH; TIMES-DK fuel # 3: WST
[5 empty] | WOS | WoodStraw | 1 | TIMES-DK fuel # 1: WPE; TIMES-DK fuel # 2: WCH; TIMES-DK fuel # 3: STR
Kedel_Olie_Grenå | HFO |  |  |  | FL1 | Flex1 | 1 | TIMES-DK fuel # 1: WST; TIMES-DK fuel # 2: STR; TIMES-DK fuel # 3: WCH; TIMES-DK fuel # 4: GAS; TIMES-DK fuel # 5: BGA
Kedel_Olie_KBH | HFO |  |  |  | FL2 | Flex2 | 1 | TIMES-DK fuel # 1: WPE; TIMES-DK fuel # 2: STR; TIMES-DK fuel # 3: GAS; TIMES-DK fuel # 4: BGA
Kedel_Olie_Åbenrå | HFO |  |  |  | ADS | DSL & DSB | 1 | TIMES-DK fuel # 1: DSL; TIMES-DK fuel # 2: DSB
[5 empty] | ANG | NGA & SNG | 1 | TIMES-DK fuel # 1: NGA; TIMES-DK fuel # 2: SNG
Kedel_OlieBioolie_Randers | ADS
Kedel_KulOlie_ØVR_DK-West | COA
|  |  |  | Max. share i 2010 |  |  |  | TIMES-DK fuel # 1: Share-I~UP~2010
Kedel_BiomasseAffald_Helsingør | WOW | [6 empty] | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 7 | # 8 | # 9 | # 10
Kedel_Biomasse_Herning | WPE |  |  | Fuel types | DSB | BioDiesel |  | Share-I~UP~2010 # 2: 0
Kedel_Biomasse_Hillerød | WOO |  |  |  | SNG | Synt.Nat.Gas |  | Share-I~UP~2010 # 2: 0
Kedel_Biomasse_KBH | WOG |  |  |  | GAS | Gas |  | Share-I~UP~2010 # 2: 0; Share-I~UP~2010 # 3: 0
Kedel_Biomasse_Nakskov | WOS |  |  | Mixed fuels | GWA | GasWaste |  | Share-I~UP~2010 # 1: 0.35; Share-I~UP~2010 # 2: 0.75
Kedel_Biomasse_Nyborg | ADS |  |  |  | WAS | WasteStraw |  | Share-I~UP~2010 # 1: 0.6; Share-I~UP~2010 # 2: 0.45
Kedel_Biomasse_NykøbingFalster | WOO |  |  |  | COS | CoalStraw |  | Share-I~UP~2010 # 1: 0.9; Share-I~UP~2010 # 2: 0.15
Kedel_Biomasse_Åbenrå | ADS |  |  |  | COW | CoalWood |  | Share-I~UP~2010 # 1: 0.85; Share-I~UP~2010 # 2: 0.2; Share-I~UP~2010 # 3: 0.2
Kedel_Biomasse_Århus | WCH |  |  |  | WOG | WoodGas |  | Share-I~UP~2010 # 1: 0.65; Share-I~UP~2010 # 2: 0.65; Share-I~UP~2010 # 3: 0.1; Share-I~UP~2010 # 4: 0.1
[5 empty] | WOO | Wood |  | Share-I~UP~2010 # 1: 0.15; Share-I~UP~2010 # 2: 0.85
Kedel_Biomasse_NG_DK-East | WOO |  |  |  | WOW | WoodWaste |  | Share-I~UP~2010 # 1: 0; Share-I~UP~2010 # 2: 0.1; Share-I~UP~2010 # 3: 0.9
Kedel_Biomasse_NG_DK-West | WOS |  |  |  | WOS | WoodStraw |  | Share-I~UP~2010 # 1: 0.1; Share-I~UP~2010 # 2: 0.5; Share-I~UP~2010 # 3: 0.4
Kedel_Biomasse_BIO_DK-East | WOS |  |  |  | FL1 | Flex1 |  | Share-I~UP~2010 # 1: 0.7; Share-I~UP~2010 # 2: 0.15; Share-I~UP~2010 # 3: 0.1; Share-I~UP~2010 # 4: 0; Share-I~UP~2010 # 5: 0.05
Kedel_Biomasse_BIO_DK-West | WOS |  |  |  | FL2 | Flex2 |  | Share-I~UP~2010 # 1: 0.45; Share-I~UP~2010 # 2: 0.1; Share-I~UP~2010 # 3: 0.5
Kedel_Biomasse_ØVR_DK-East | WOG |  |  |  | ADS | DSL & DSB |  | Share-I~UP~2010 # 1: 0.95; Share-I~UP~2010 # 2: 0.1
Kedel_Biomasse_ØVR_DK-West | FL2 |  |  |  | ANG | NGA & SNG |  | Share-I~UP~2010 # 1: 1; Share-I~UP~2010 # 2: 0; Share-I~UP~2010 # 3: 0
Kedel_Biomasse_Ekstra | WOS
Halm&Halm50Flis50 | WOS |  |  | Max. share i 2012 |  |  |  | Share-I~UP~2010 # 1: Share-I~UP~2012 |  | Compared to values in table above:
Kul&Kul70Flis30 | COW | [6 empty] | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 7 | # 8 | # 9 | # 10
Kul&Træ | COW |  |  | Fuel types | DSB | BioDiesel |  | Share-I~UP~2012 # 2: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NaturgasCKV&Avedøreværket_AVV2 | FL2 |  |  |  | SNG | Synt.Nat.Gas |  | Share-I~UP~2012 # 2: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | GAS | Gas |  | Share-I~UP~2012 # 2: 0; Share-I~UP~2012 # 3: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Mixed fuels | GWA | GasWaste |  | Share-I~UP~2012 # 1: 0.35; Share-I~UP~2012 # 2: 0.75 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WAS | WasteStraw |  | Share-I~UP~2012 # 1: 0.6; Share-I~UP~2012 # 2: 0.45 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | COS | CoalStraw |  | Share-I~UP~2012 # 1: 0.9; Share-I~UP~2012 # 2: 0.15 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | COW | CoalWood |  | Share-I~UP~2012 # 1: 0.85; Share-I~UP~2012 # 2: 0.2; Share-I~UP~2012 # 3: 0.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOG | WoodGas |  | Share-I~UP~2012 # 1: 0.65; Share-I~UP~2012 # 2: 0.65; Share-I~UP~2012 # 3: 0.1; Share-I~UP~2012 # 4: 0.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOO | Wood |  | Share-I~UP~2012 # 1: 0.15; Share-I~UP~2012 # 2: 0.85 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOW | WoodWaste |  | Share-I~UP~2012 # 1: 0; Share-I~UP~2012 # 2: 0.1; Share-I~UP~2012 # 3: 0.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOS | WoodStraw |  | Share-I~UP~2012 # 1: 0.1; Share-I~UP~2012 # 2: 0.5; Share-I~UP~2012 # 3: 0.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | FL1 | Flex1 |  | Share-I~UP~2012 # 1: 0.7; Share-I~UP~2012 # 2: 0.15; Share-I~UP~2012 # 3: 0.1; Share-I~UP~2012 # 4: 0; Share-I~UP~2012 # 5: 0.05 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | FL2 | Flex2 |  | Share-I~UP~2012 # 1: 0.45; Share-I~UP~2012 # 2: 0.1; Share-I~UP~2012 # 3: 0.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | ADS | DSL & DSB |  | Share-I~UP~2012 # 1: 0.95; Share-I~UP~2012 # 2: 0.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | ANG | NGA & SNG |  | Share-I~UP~2012 # 1: 1; Share-I~UP~2012 # 2: 0; Share-I~UP~2012 # 3: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Max. share i 2015 |  |  |  | Share-I~UP~2012 # 1: Share-I~UP~2015
[8 empty] | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 7 | # 8 | # 9 | # 10
|  |  |  | Fuel types | DSB | BioDiesel |  | Share-I~UP~2015 # 2: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | SNG | Synt.Nat.Gas |  | Share-I~UP~2015 # 2: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | GAS | Gas |  | Share-I~UP~2015 # 2: 0.05; Share-I~UP~2015 # 3: 0 |  | 0 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Mixed fuels | GWA | GasWaste |  | Share-I~UP~2015 # 1: 0.35; Share-I~UP~2015 # 2: 0.75 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WAS | WasteStraw |  | Share-I~UP~2015 # 1: 0.6; Share-I~UP~2015 # 2: 0.45 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | COS | CoalStraw |  | Share-I~UP~2015 # 1: 0.9; Share-I~UP~2015 # 2: 0.15 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | COW | CoalWood |  | Share-I~UP~2015 # 1: 0.85; Share-I~UP~2015 # 2: 0.2; Share-I~UP~2015 # 3: 0.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOG | WoodGas |  | Share-I~UP~2015 # 1: 0.65; Share-I~UP~2015 # 2: 0.65; Share-I~UP~2015 # 3: 0.1; Share-I~UP~2015 # 4: 0.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOO | Wood |  | Share-I~UP~2015 # 1: 0.15; Share-I~UP~2015 # 2: 0.85 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOW | WoodWaste |  | Share-I~UP~2015 # 1: 0; Share-I~UP~2015 # 2: 0.1; Share-I~UP~2015 # 3: 0.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOS | WoodStraw |  | Share-I~UP~2015 # 1: 0.1; Share-I~UP~2015 # 2: 0.5; Share-I~UP~2015 # 3: 0.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | FL1 | Flex1 |  | Share-I~UP~2015 # 1: 0.7; Share-I~UP~2015 # 2: 0.15; Share-I~UP~2015 # 3: 0.1; Share-I~UP~2015 # 4: 0; Share-I~UP~2015 # 5: 0.05 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | FL2 | Flex2 |  | Share-I~UP~2015 # 1: 0.45; Share-I~UP~2015 # 2: 0.1; Share-I~UP~2015 # 3: 0.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | ADS | DSL & DSB |  | Share-I~UP~2015 # 1: 0.95; Share-I~UP~2015 # 2: 0.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | ANG | NGA & SNG |  | Share-I~UP~2015 # 1: 1; Share-I~UP~2015 # 2: 0; Share-I~UP~2015 # 3: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Max. share i 2020 |  |  |  | Share-I~UP~2015 # 1: Share-I~UP~2020
[8 empty] | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 7 | # 8 | # 9 | # 10
|  |  |  | Fuel types | DSB | BioDiesel |  | Share-I~UP~2020 # 2: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | SNG | Synt.Nat.Gas |  | Share-I~UP~2020 # 2: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | GAS | Gas |  | Share-I~UP~2020 # 2: 0.1; Share-I~UP~2020 # 3: 0 |  | 0 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Mixed fuels | GWA | GasWaste |  | Share-I~UP~2020 # 1: 0.35; Share-I~UP~2020 # 2: 0.75 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WAS | WasteStraw |  | Share-I~UP~2020 # 1: 0.6; Share-I~UP~2020 # 2: 0.45 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | COS | CoalStraw |  | Share-I~UP~2020 # 1: 0.9; Share-I~UP~2020 # 2: 0.15 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | COW | CoalWood |  | Share-I~UP~2020 # 1: 0.6; Share-I~UP~2020 # 2: 0.5; Share-I~UP~2020 # 3: 0.2 |  | -0.25 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOG | WoodGas |  | Share-I~UP~2020 # 1: 0.65; Share-I~UP~2020 # 2: 0.65; Share-I~UP~2020 # 3: 0.1; Share-I~UP~2020 # 4: 0.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOO | Wood |  | Share-I~UP~2020 # 1: 0.15; Share-I~UP~2020 # 2: 0.85 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOW | WoodWaste |  | Share-I~UP~2020 # 1: 0; Share-I~UP~2020 # 2: 0.1; Share-I~UP~2020 # 3: 0.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOS | WoodStraw |  | Share-I~UP~2020 # 1: 0.1; Share-I~UP~2020 # 2: 0.5; Share-I~UP~2020 # 3: 0.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | FL1 | Flex1 |  | Share-I~UP~2020 # 1: 0.7; Share-I~UP~2020 # 2: 0.15; Share-I~UP~2020 # 3: 0.1; Share-I~UP~2020 # 4: 0; Share-I~UP~2020 # 5: 0.05 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | FL2 | Flex2 |  | Share-I~UP~2020 # 1: 0.45; Share-I~UP~2020 # 2: 0.1; Share-I~UP~2020 # 3: 0.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | ADS | DSL & DSB |  | Share-I~UP~2020 # 1: 0.95; Share-I~UP~2020 # 2: 0.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | ANG | NGA & SNG |  | Share-I~UP~2020 # 1: 1; Share-I~UP~2020 # 2: 0; Share-I~UP~2020 # 3: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Max. share i 2025 |  |  |  | Share-I~UP~2020 # 1: Share-I~UP~2025
[8 empty] | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 7 | # 8 | # 9 | # 10
|  |  |  | Fuel types | DSB | BioDiesel |  | Share-I~UP~2025 # 2: 0.1 |  | 0 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | SNG | Synt.Nat.Gas |  | Share-I~UP~2025 # 2: 0.1 |  | 0 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | GAS | Gas |  | Share-I~UP~2025 # 2: 0.1; Share-I~UP~2025 # 3: 0.1 |  | 0 | 0 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Mixed fuels | GWA | GasWaste |  | Share-I~UP~2025 # 1: 0.35; Share-I~UP~2025 # 2: 0.75 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WAS | WasteStraw |  | Share-I~UP~2025 # 1: 0.6; Share-I~UP~2025 # 2: 0.45 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | COS | CoalStraw |  | Share-I~UP~2025 # 1: 0.9; Share-I~UP~2025 # 2: 0.15 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | COW | CoalWood |  | Share-I~UP~2025 # 1: 0.6; Share-I~UP~2025 # 2: 0.5; Share-I~UP~2025 # 3: 0.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOG | WoodGas |  | Share-I~UP~2025 # 1: 0.65; Share-I~UP~2025 # 2: 0.65; Share-I~UP~2025 # 3: 0.2; Share-I~UP~2025 # 4: 0.2 |  | 0 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOO | Wood |  | Share-I~UP~2025 # 1: 0.15; Share-I~UP~2025 # 2: 0.85 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOW | WoodWaste |  | Share-I~UP~2025 # 1: 0; Share-I~UP~2025 # 2: 0.1; Share-I~UP~2025 # 3: 0.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOS | WoodStraw |  | Share-I~UP~2025 # 1: 0.1; Share-I~UP~2025 # 2: 0.5; Share-I~UP~2025 # 3: 0.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | FL1 | Flex1 |  | Share-I~UP~2025 # 1: 0.7; Share-I~UP~2025 # 2: 0.15; Share-I~UP~2025 # 3: 0.1; Share-I~UP~2025 # 4: 0.1; Share-I~UP~2025 # 5: 0.1 |  | 0 | 0 | 0 | 0.1 | 0.05 | 0 | 0 | 0 | 0 | 0
[5 empty] | FL2 | Flex2 |  | Share-I~UP~2025 # 1: 0.45; Share-I~UP~2025 # 2: 0.1; Share-I~UP~2025 # 3: 0.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | ADS | DSL & DSB |  | Share-I~UP~2025 # 1: 0.95; Share-I~UP~2025 # 2: 0.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | ANG | NGA & SNG |  | Share-I~UP~2025 # 1: 1; Share-I~UP~2025 # 2: 0; Share-I~UP~2025 # 3: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Max. share i 2050 |  |  |  | Share-I~UP~2025 # 1: Share-I~UP~2050
[8 empty] | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 7 | # 8 | # 9 | # 10
|  |  |  | Fuel types | DSB | BioDiesel | [12 empty] | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: Share-I~UP~2050 # 1 to Share-I~UP~2050 # 10
[5 empty] | SNG | Synt.Nat.Gas | [12 empty] | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: Share-I~UP~2050 # 1 to Share-I~UP~2050 # 10
[5 empty] | GAS | Gas | [12 empty] | 0 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: Share-I~UP~2050 # 1 to Share-I~UP~2050 # 10
|  |  |  | Mixed fuels | GWA | GasWaste |  | Share-I~UP~2050 # 1: 0.35; Share-I~UP~2050 # 2: 0.75 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WAS | WasteStraw |  | Share-I~UP~2050 # 1: 0.6; Share-I~UP~2050 # 2: 0.45 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | COS | CoalStraw |  | Share-I~UP~2050 # 1: 0.9; Share-I~UP~2050 # 2: 0.15 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | COW | CoalWood |  | Share-I~UP~2050 # 1: 0.6; Share-I~UP~2050 # 2: 0.5; Share-I~UP~2050 # 3: 0.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOG | WoodGas |  | Share-I~UP~2050 # 1: 0.65; Share-I~UP~2050 # 2: 0.65; Share-I~UP~2050 # 3: 0.2; Share-I~UP~2050 # 4: 0.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOO | Wood |  | Share-I~UP~2050 # 1: 0.15; Share-I~UP~2050 # 2: 0.85 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOW | WoodWaste |  | Share-I~UP~2050 # 1: 0; Share-I~UP~2050 # 2: 0.1; Share-I~UP~2050 # 3: 0.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | WOS | WoodStraw |  | Share-I~UP~2050 # 1: 0.1; Share-I~UP~2050 # 2: 0.5; Share-I~UP~2050 # 3: 0.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | FL1 | Flex1 |  | Share-I~UP~2050 # 1: 0.7; Share-I~UP~2050 # 2: 0.15; Share-I~UP~2050 # 3: 0.1; Share-I~UP~2050 # 4: 0.1; Share-I~UP~2050 # 5: 0.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | FL2 | Flex2 |  | Share-I~UP~2050 # 1: 0.45; Share-I~UP~2050 # 2: 0.1; Share-I~UP~2050 # 3: 0.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | ADS | DSL & DSB |  | Share-I~UP~2050 # 1: 0.95; Share-I~UP~2050 # 2: 0.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | ANG | NGA & SNG |  | Share-I~UP~2050 # 1: 1; Share-I~UP~2050 # 2: 0; Share-I~UP~2050 # 3: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Interpolation rule |  |  |  | Share-I~UP~2050 # 1: Share-I~UP~0
[8 empty] | # 1 | # 2 | # 3 | # 4 | # 5 | # 6 | # 7 | # 8 | # 9 | # 10
|  |  |  | Fuel types | DSB | BioDiesel | bar: Share-I~UP~0 # 1 to Share-I~UP~0 # 10
[5 empty] | SNG | Synt.Nat.Gas | bar: Share-I~UP~0 # 1 to Share-I~UP~0 # 10
[5 empty] | GAS | Gas | bar: Share-I~UP~0 # 1 to Share-I~UP~0 # 10
|  |  |  | Mixed fuels | GWA | GasWaste | bar: Share-I~UP~0 # 1 to Share-I~UP~0 # 10
[5 empty] | WAS | WasteStraw | bar: Share-I~UP~0 # 1 to Share-I~UP~0 # 10
[5 empty] | COS | CoalStraw | bar: Share-I~UP~0 # 1 to Share-I~UP~0 # 10
[5 empty] | COW | CoalWood | bar: Share-I~UP~0 # 1 to Share-I~UP~0 # 10
[5 empty] | WOG | WoodGas | bar: Share-I~UP~0 # 1 to Share-I~UP~0 # 10
[5 empty] | WOO | Wood | bar: Share-I~UP~0 # 1 to Share-I~UP~0 # 10
[5 empty] | WOW | WoodWaste | bar: Share-I~UP~0 # 1 to Share-I~UP~0 # 10
[5 empty] | WOS | WoodStraw | bar: Share-I~UP~0 # 1 to Share-I~UP~0 # 10
[5 empty] | FL1 | Flex1 |  | 1 | 1 | 1 | 1 | 1 | 5
[5 empty] | FL2 | Flex2 | bar: Share-I~UP~0 # 1 to Share-I~UP~0 # 10
[5 empty] | ADS | DSL & DSB | bar: Share-I~UP~0 # 1 to Share-I~UP~0 # 10
[5 empty] | ANG | NGA & SNG | bar: Share-I~UP~0 # 1 to Share-I~UP~0 # 10
Used in sheet 'Fuel Tech':
Offset
[8 empty] | Row | Col
[8 empty] | 0 | 0 | These numbers are valid for 10 Basic Fuels per Mixed Fuel.
[8 empty] | 0 | 1
[8 empty] | 0 | 2
[8 empty] | 0 | 3
[8 empty] | 0 | 4
[8 empty] | 0 | 5
[8 empty] | 0 | 6
[8 empty] | 0 | 7
[8 empty] | 0 | 8
[8 empty] | 0 | 9
[8 empty] | 1 | 0
[8 empty] | 1 | 1
[8 empty] | 1 | 2
[8 empty] | 1 | 3
[8 empty] | 1 | 4
[8 empty] | 1 | 5
[8 empty] | 1 | 6
[8 empty] | 1 | 7
[8 empty] | 1 | 8
[8 empty] | 1 | 9
[8 empty] | 2 | 0
[8 empty] | 2 | 1
[8 empty] | 2 | 2
[8 empty] | 2 | 3
[8 empty] | 2 | 4
[8 empty] | 2 | 5
[8 empty] | 2 | 6
[8 empty] | 2 | 7
[8 empty] | 2 | 8
[8 empty] | 2 | 9
[8 empty] | 3 | 0
[8 empty] | 3 | 1
[8 empty] | 3 | 2
[8 empty] | 3 | 3
[8 empty] | 3 | 4
[8 empty] | 3 | 5
[8 empty] | 3 | 6
[8 empty] | 3 | 7
[8 empty] | 3 | 8
[8 empty] | 3 | 9
[8 empty] | 4 | 0
[8 empty] | 4 | 1
[8 empty] | 4 | 2
[8 empty] | 4 | 3
[8 empty] | 4 | 4
[8 empty] | 4 | 5
[8 empty] | 4 | 6
[8 empty] | 4 | 7
[8 empty] | 4 | 8
[8 empty] | 4 | 9
[8 empty] | 5 | 0
[8 empty] | 5 | 1
[8 empty] | 5 | 2
[8 empty] | 5 | 3
[8 empty] | 5 | 4
[8 empty] | 5 | 5
[8 empty] | 5 | 6
[8 empty] | 5 | 7
[8 empty] | 5 | 8
[8 empty] | 5 | 9
[8 empty] | 6 | 0
[8 empty] | 6 | 1
[8 empty] | 6 | 2
[8 empty] | 6 | 3
[8 empty] | 6 | 4
[8 empty] | 6 | 5
[8 empty] | 6 | 6
[8 empty] | 6 | 7
[8 empty] | 6 | 8
[8 empty] | 6 | 9
[8 empty] | 7 | 0
[8 empty] | 7 | 1
[8 empty] | 7 | 2
[8 empty] | 7 | 3
[8 empty] | 7 | 4
[8 empty] | 7 | 5
[8 empty] | 7 | 6
[8 empty] | 7 | 7
[8 empty] | 7 | 8
[8 empty] | 7 | 9
[8 empty] | 8 | 0
[8 empty] | 8 | 1
[8 empty] | 8 | 2
[8 empty] | 8 | 3
[8 empty] | 8 | 4
[8 empty] | 8 | 5
[8 empty] | 8 | 6
[8 empty] | 8 | 7
[8 empty] | 8 | 8
[8 empty] | 8 | 9
[8 empty] | 9 | 0
[8 empty] | 9 | 1
[8 empty] | 9 | 2
[8 empty] | 9 | 3
[8 empty] | 9 | 4
[8 empty] | 9 | 5
[8 empty] | 9 | 6
[8 empty] | 9 | 7
[8 empty] | 9 | 8
[8 empty] | 9 | 9
[8 empty] | 10 | 0
[8 empty] | 10 | 1
[8 empty] | 10 | 2
[8 empty] | 10 | 3
[8 empty] | 10 | 4
[8 empty] | 10 | 5
[8 empty] | 10 | 6
[8 empty] | 10 | 7
[8 empty] | 10 | 8
[8 empty] | 10 | 9
[8 empty] | 11 | 0
[8 empty] | 11 | 1
[8 empty] | 11 | 2
[8 empty] | 11 | 3
[8 empty] | 11 | 4
[8 empty] | 11 | 5
[8 empty] | 11 | 6
[8 empty] | 11 | 7
[8 empty] | 11 | 8
[8 empty] | 11 | 9
[8 empty] | 12 | 0
[8 empty] | 12 | 1
[8 empty] | 12 | 2
[8 empty] | 12 | 3
[8 empty] | 12 | 4
[8 empty] | 12 | 5
[8 empty] | 12 | 6
[8 empty] | 12 | 7
[8 empty] | 12 | 8
[8 empty] | 12 | 9
[8 empty] | 13 | 0
[8 empty] | 13 | 1
[8 empty] | 13 | 2
[8 empty] | 13 | 3
[8 empty] | 13 | 4
[8 empty] | 13 | 5
[8 empty] | 13 | 6
[8 empty] | 13 | 7
[8 empty] | 13 | 8
[8 empty] | 13 | 9
[8 empty] | 14 | 0
[8 empty] | 14 | 1
[8 empty] | 14 | 2
[8 empty] | 14 | 3
[8 empty] | 14 | 4
[8 empty] | 14 | 5
[8 empty] | 14 | 6
[8 empty] | 14 | 7
[8 empty] | 14 | 8
[8 empty] | 14 | 9
If the list of fuels in I12:I39 is changed,
sheet 'TIMES-DK codes' should be
changed accordingly in columns W:BI,
and columns BG:BH should be copied
to columns B:C in sheets Plants2, Plants2A,
Plants2B, Plants2C and Plants2D.

## Adjusted O&M waste and WIN
O&M for waste plants - in the ramses file a lot of the Var was set to a negative value and the Fixed to zero - in the celle where this is the case the numbers below is inserted
When WST mixed the waste values is multiplied with the WST factors factor |  |  |  |  | The cells where the values is incerted is yellow and red text
|  |  |  | FIXOM | VAROM
ECWSTBP* | CHP: Back pressure plant - Waste |  |  | 1.49 | 49.4597
EHWSTBO* | Heat only: Boiler plant - Waste |  |  | 0.298 | 13.6583
|  |  |  | FIXOM | VAROM |  | FIXOM | VAROM
GWA | GasWaste | 0.5 | CHP | 0.745 | 24.7299 | HOP | 0.149 | 6.8292
WAS | WasteStraw | 0.7 |  | 1.043 | 34.6218 |  | 0.2086 | 9.5608
WOW | WoodWaste | 0.95 |  | 1.4155 | 46.9867 |  | 0.2831 | 12.9754
FL1 | Flex1 | 0.8 |  | 1.192 | 39.5678 |  | 0.2384 | 10.9267 |  | NEW |  | Share : Set the share in the yellow cell the FIX share of the OM
|  |  |  | FIXOM | VAROM | AFA |  | prod | Total OM | FIXOM | VAROM | FIX | VAR
|  |  |  | Mkr/MW | Mkr/PJ | Factor | flh(MWh/MW) | PJ/Y | Mkr/MW | Mkr/MW
ERWINWOF3N-DKE | Renewables, power only: Wind turbine (offshore) - Wind - New 2020 | ELCWIN | ELCC | 0 | 37.2391 | 0.47776 | 4185.1852 | 0.015067 | 0.56107 | 0.50496 | 3.7239 | 0.9 | 0.1 | 1
ERWINWON3N-DKE | Renewables, power only: Wind turbine (onshore) - Wind - New 2020 | ELCWIN | ELCC | 0 | 19.7148 | 0.35988 | 3152.5181 | 0.011349 | 0.22374 | 0.20137 | 1.9715 | 0.9 | 0.1 | 1
Note on F13: Rikke Næraa: original figures from the VT OM was 100% VAROM, some of this cost should be changed to FIXOM. According to the technology catalog the major components of o & M are : Insurance, repair, service agreement and land rent. Reapair and service agreement could be partly related to the production.